## Electric Summary
MidAmerican Energy Company
South Dakota Energy Efficiency
Annual Program Results
Electric Summary (Energy Programs Only)
Total Administrative Cost: |  | 19213.9915
Total Participant Cost: |  | 409394.5557
Total Incentives Paid: |  | 108044.5
Total Tax Credits: |  | 147600
|  |  | Ratepayer |  | Total
Benefit/Cost Data |  | Participant | Impact | Utility | Resource | Societal
Total Benefits |  | 1571900.0387 | 1642471.3559 | 1642471.3559 | 1793071.3744 | 2455688.9408
Total Costs |  | 409394.5557 | 1440514.0117 | 127258.4915 | 428608.5472 | 428608.5472
Net Benefits |  | 1162505.483 | 201957.3442 | 1515212.8644 | 1364462.8272 | 2027080.3936
B/C Ratio |  | 3.8396 | 1.1402 | 12.9066 | 4.1835 | 5.7294
Levelized Cost ($/MWh) |  | 25.8865 | 91.0853 | 8.0467 | 27.1014 | 20.6024
Discount Rate |  | 7.43% | 7.43% | 7.43% | 7.43% | 3.56%
|  |  | Avoided | Avoided | Avoided
| Loss Adjusted | Loss Adjusted | Generation | Transmission | Distribution | Avoided
| Energy | Peak | Capacity | Capacity | Capacity | Energy | Bill | Non-Energy
Year | MWh | MW | Cost | Cost | Cost | Cost | Savings | Benefits | Externalities
1 | 1478.7685 | 0.2217 | 29456.03 | 4253.98 | 10800.44 | 66066.16 | 96125.78 | 396.55 | 11057.661
2 | 1478.7685 | 0.2217 | 30192.42 | 4360.33 | 11070.46 | 69527.7 | 99394.07 | 396.55 | 11515.091
3 | 1478.7685 | 0.2217 | 30947.25 | 4469.32 | 11347.24 | 74406.62 | 102773.48 | 396.55 | 12117.043
4 | 1478.7685 | 0.2217 | 31720.94 | 4581.06 | 11630.9 | 84067.89 | 106267.76 | 396.55 | 13200.079
5 | 1478.7685 | 0.2217 | 32513.94 | 4695.6 | 11921.67 | 81742.84 | 109880.91 | 396.55 | 13087.405
6 | 1464.5735 | 0.22001 | 31549.72 | 4556.32 | 11568.12 | 111673.66 | 112136.32 | 396.55 | 15934.782
7 | 1464.5735 | 0.22001 | 32338.45 | 4670.24 | 11857.31 | 127380.52 | 115948.98 | 396.55 | 17624.652
8 | 1464.5735 | 0.22001 | 33146.9 | 4786.99 | 12153.75 | 117868.23 | 119891.26 | 396.55 | 16795.587
9 | 1464.5735 | 0.22001 | 33975.59 | 4906.69 | 12457.59 | 109082.86 | 123967.55 | 396.55 | 16042.273
10 | 1464.5631 | 0.22 | 34823.07 | 5029.05 | 12768.34 | 111705.36 | 128181.25 | 396.55 | 16432.582
11 | 1463.0585 | 0.2198 | 35668.09 | 5151.1 | 13078.17 | 112177.08 | 132379.69 | 136.08 | 16607.444
12 | 1460.0103 | 0.21943 | 36506.74 | 5272.22 | 13385.67 | 122372.57 | 136571.12 | 0 | 17753.72
13 | 1460.0103 | 0.21943 | 37419.4 | 5404.02 | 13720.31 | 128345.46 | 141214.54 | 0 | 18488.919
14 | 1447.5404 | 0.21757 | 38070.32 | 5498.04 | 13958.96 | 135362.08 | 144758.42 | 0 | 19288.94
15 | 1447.5404 | 0.21757 | 39022.09 | 5635.48 | 14307.96 | 124379.16 | 149680.23 | 0 | 18334.469
16 | 1311.5505 | 0.17813 | 28621.1 | 4133.39 | 10494.3 | 115014.8 | 139161.89 | 0 | 15826.359
17 | 1311.5505 | 0.17813 | 29336.63 | 4236.72 | 10756.65 | 114156.06 | 143893.39 | 0 | 15848.606
18 | 1311.5505 | 0.17813 | 30070.05 | 4342.64 | 11025.58 | 119794.85 | 148785.77 | 0 | 16523.312
19 | 1071.9207 | 0.13661 | 25422.56 | 3671.47 | 9321.52 | 101548.43 | 126369.63 | 0 | 13996.398
20 | 1071.9207 | 0.13661 | 26058.12 | 3763.25 | 9554.55 | 99844.39 | 130666.19 | 0 | 13922.031
21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
29 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NPV - TRC | 15815.0063 | 2.343 | 355748.3066 | 51376.3371 | 130439.8049 | 1104906.9073 | 1313255.5202 | 3000.0184 | 164247.1356
NPV - SOC | 20803.788 | 3.0654 | 473935.9007 | 68444.7082 | 173774.8293 | 1516289.0533 | 1792256.0483 | 3500.9636 | 223244.4492

## Gas Summary
MidAmerican Energy Company
South Dakota Energy Efficiency
Annual Program Results
Gas Summary
Total Administrative Cost: |  | 62984.01
Total Participant Cost: |  | 3278658.2932
Total Incentives Paid: |  | 856188.64
Total Tax Credits: |  | 0
|  |  | Ratepayer |  | Total
Benefit/Cost Data |  | Participant | Impact | Utility | Resource | Societal
Total Benefits |  | 5256695.5657 | 3999848.6898 | 3999848.6898 | 4390759.7154 | 5823080.6775
Total Costs |  | 3278658.2932 | 4928768.55 | 919172.65 | 3341642.3032 | 3341642.3032
Net Benefits |  | 1978037.2725 | -928919.8602 | 3080676.0398 | 1049117.4122 | 2481438.3743
B/C Ratio |  | 1.6033 | 0.81153 | 4.3516 | 1.314 | 1.7426
Levelized Cost ($/MMBtu) |  | 7.6965 | 11.5701 | 2.1577 | 7.8444 | 5.9561
Discount Rate |  | 7.43% | 7.43% | 7.43% | 7.43% | 3.56%
|  |  | Avoided | Avoided | Avoided
|  |  | Production | Transmission | Distribution | Avoided
| Energy | Peak | Capacity | Capacity | Capacity | Energy | Bill | Non-Energy
Year | MMBtu | MMBtu | Cost | Cost | Cost | Cost | Savings | Benefits | Externalities
1 | 39688.6512 | 505.0731 | 54849.99 | 0 | 0 | 245635.36 | 278968.98 | 43845.79 | 22536.4012
2 | 39688.6512 | 505.0731 | 54849.99 | 0 | 0 | 256229.56 | 292894.89 | 43845.79 | 23330.9663
3 | 39688.6512 | 505.0731 | 54849.99 | 0 | 0 | 264351.15 | 310734.4 | 43845.79 | 23940.0855
4 | 39688.6512 | 505.0731 | 54849.99 | 0 | 0 | 273791.82 | 325700.05 | 43845.79 | 24648.1358
5 | 39688.6512 | 505.0731 | 54849.99 | 0 | 0 | 289397.83 | 338095.68 | 43845.79 | 25818.5865
6 | 39688.6512 | 505.0731 | 54849.99 | 0 | 0 | 311127.54 | 348059.25 | 43845.79 | 27448.3147
7 | 39688.6512 | 505.0731 | 54849.99 | 0 | 0 | 319153.72 | 359383.37 | 43845.79 | 28050.2782
8 | 39688.6512 | 505.0731 | 54849.99 | 0 | 0 | 326338.69 | 376915.16 | 43845.79 | 28589.151
9 | 39688.6512 | 505.0731 | 54849.99 | 0 | 0 | 333688.54 | 400614.05 | 43845.79 | 29140.3897
10 | 39688.6512 | 505.0731 | 54849.99 | 0 | 0 | 341192.33 | 410653.69 | 43845.79 | 29703.174
11 | 38961.6932 | 502.909 | 54625.12 | 0 | 0 | 342491 | 412389.04 | 29521.26 | 29783.709
12 | 38961.6932 | 502.909 | 54625.12 | 0 | 0 | 350181.59 | 421675.04 | 29521.26 | 30360.5032
13 | 38961.6932 | 502.909 | 54625.12 | 0 | 0 | 358060.62 | 431158.53 | 29521.26 | 30951.4305
14 | 38858.0612 | 502.6294 | 54596.06 | 0 | 0 | 365156.26 | 439688.41 | 29521.26 | 31481.424
15 | 38858.0612 | 502.6294 | 54596.06 | 0 | 0 | 373362.54 | 449565.94 | 29521.26 | 32096.895
16 | 33380.7532 | 430.77 | 47129.43 | 0 | 0 | 327960.31 | 395061.84 | 2538.02 | 28131.7305
17 | 33380.7532 | 430.77 | 47129.43 | 0 | 0 | 335349.55 | 403961.12 | 2538.02 | 28685.9235
18 | 33380.7532 | 430.77 | 47129.43 | 0 | 0 | 342886.15 | 413041.88 | 2538.02 | 29251.1685
19 | 33380.7532 | 430.77 | 47129.43 | 0 | 0 | 350599.07 | 422342.73 | 2538.02 | 29829.6375
20 | 33380.7532 | 430.77 | 47129.43 | 0 | 0 | 358487.89 | 431855.59 | 2538.02 | 30421.299
21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
29 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NPV - TRC | 425992.2042 | 5445.8619 | 591951.0057 | 0 | 0 | 3407897.6841 | 4009595.9 | 390911.0257 | 299988.6517
NPV - SOC | 561049.439 | 7180.9533 | 780835.9103 | 0 | 0 | 4635983.3246 | 5475090.4486 | 480625.514 | 406261.4426

## Residential Equipment - Elec
MidAmerican Energy Company
South Dakota Energy Efficiency
Annual Program Results
Residential Equipment - Electric
Total Administrative Cost: |  | 4165.2755
Total Participant Cost: |  | 277996.6572
Total Incentives Paid: |  | 88661.89
Total Tax Credits: |  | 147600
|  |  | Ratepayer |  | Total
Benefit/Cost Data |  | Participant | Impact | Utility | Resource | Societal
Total Benefits |  | 470969.1345 | 297442.6209 | 297442.6209 | 446115.7579 | 434435.857
Total Costs |  | 277996.6572 | 326461.273 | 92827.1655 | 282161.9327 | 282161.9327
Net Benefits |  | 192972.4773 | -29018.6521 | 204615.4553 | 163953.8252 | 152273.9243
B/C Ratio |  | 1.6942 | 0.91111 | 3.2043 | 1.5811 | 1.5397
Levelized Cost ($/MWh) |  | 95.9395 | 112.6651 | 32.0356 | 97.377 | 75.4991
Discount Rate |  | 7.43% | 7.43% | 7.43% | 7.43% | 3.56%
|  |  | Avoided | Avoided | Avoided
| Loss Adjusted | Loss Adjusted | Generation | Transmission | Distribution | Avoided
| Energy | Peak | Capacity | Capacity | Capacity | Energy | Bill | Non-Energy
Year | MWh | MW | Cost | Cost | Cost | Cost | Savings | Benefits | Externalities
1 | 280.7417 | 0.065042 | 6074.37 | 877.25 | 2227.25 | 11652 | 18020.36 | 136.08 | 2083.087
2 | 280.7417 | 0.065042 | 6226.23 | 899.18 | 2282.94 | 12642.92 | 18633.06 | 136.08 | 2205.127
3 | 280.7417 | 0.065042 | 6381.88 | 921.66 | 2340.01 | 13267.51 | 19266.59 | 136.08 | 2291.106
4 | 280.7417 | 0.065042 | 6541.44 | 944.7 | 2398.51 | 15083.8 | 19921.65 | 136.08 | 2496.845
5 | 280.7417 | 0.065042 | 6704.96 | 968.32 | 2458.47 | 14619.1 | 20599 | 136.08 | 2475.085
6 | 280.7417 | 0.065042 | 6872.6 | 992.53 | 2519.93 | 20304.13 | 21299.34 | 136.08 | 3068.919
7 | 280.7417 | 0.065042 | 7044.41 | 1017.34 | 2582.91 | 22337 | 22023.53 | 136.08 | 3298.166
8 | 280.7417 | 0.065042 | 7220.51 | 1042.77 | 2647.49 | 20546.57 | 22772.33 | 136.08 | 3145.734
9 | 280.7417 | 0.065042 | 7401.04 | 1068.84 | 2713.68 | 20164.84 | 23546.59 | 136.08 | 3134.84
10 | 280.7313 | 0.065031 | 7584.14 | 1095.28 | 2780.83 | 20882.78 | 24345.96 | 136.08 | 3234.303
11 | 280.7313 | 0.065031 | 7773.74 | 1122.67 | 2850.36 | 20635.81 | 25173.73 | 136.08 | 3238.258
12 | 277.6831 | 0.064667 | 7915.04 | 1143.07 | 2902.14 | 23070.06 | 25720.16 | 0 | 3503.031
13 | 277.6831 | 0.064667 | 8112.91 | 1171.65 | 2974.71 | 22703.21 | 26594.64 | 0 | 3496.248
14 | 277.6831 | 0.064667 | 8315.73 | 1200.94 | 3049.06 | 24078.37 | 27498.86 | 0 | 3664.41
15 | 277.6831 | 0.064667 | 8523.63 | 1230.96 | 3125.3 | 23555.5 | 28433.83 | 0 | 3643.539
16 | 239.6298 | 0.041524 | 5013.73 | 724.07 | 1838.35 | 19959.17 | 24852.71 | 0 | 2753.532
17 | 239.6298 | 0.041524 | 5139.07 | 742.17 | 1884.3 | 20121.68 | 25697.7 | 0 | 2788.722
18 | 239.6298 | 0.041524 | 5267.55 | 760.72 | 1931.42 | 20263 | 26571.43 | 0 | 2822.269
19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
29 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NPV - TRC | 2897.6253 | 0.6585 | 71746.422 | 10361.4666 | 26306.783 | 189027.9493 | 233634.1075 | 1073.137 | 29744.2621
NPV - SOC | 3737.29 | 0.84271 | 93527.1029 | 13506.9812 | 34292.9522 | 253614.6518 | 310605.569 | 1264.3888 | 39494.1688

## Residential Audit - Elec
MidAmerican Energy Company
South Dakota Energy Efficiency
Annual Program Results
Residential Audit - Electric
Total Administrative Cost: |  | 377.6471
Total Participant Cost: |  | 2648.1575
Total Incentives Paid: |  | 1962.12
Total Tax Credits: |  | 0
|  |  | Ratepayer |  | Total
Benefit/Cost Data |  | Participant | Impact | Utility | Resource | Societal
Total Benefits |  | 5213.8704 | 3273.0548 | 3273.0548 | 4221.5891 | 4582.499
Total Costs |  | 2648.1575 | 4642.9832 | 2339.7671 | 3025.8046 | 3025.8046
Net Benefits |  | 2565.7129 | -1369.9284 | 933.2877 | 1195.7845 | 1556.6944
B/C Ratio |  | 1.9689 | 0.70495 | 1.3989 | 1.3952 | 1.5145
Levelized Cost ($/MWh) |  | 120.5591 | 211.3749 | 106.5194 | 137.7518 | 110.8974
Discount Rate |  | 7.43% | 7.43% | 7.43% | 7.43% | 3.56%
|  |  | Avoided | Avoided | Avoided
| Loss Adjusted | Loss Adjusted | Generation | Transmission | Distribution | Avoided
| Energy | Peak | Capacity | Capacity | Capacity | Energy | Bill | Non-Energy
Year | MWh | MW | Cost | Cost | Cost | Cost | Savings | Benefits | Externalities
1 | 2.428 | 0.0017499 | 107.91 | 15.58 | 39.57 | 108.55 | 209.4 | 128.22 | 27.161
2 | 2.428 | 0.0017499 | 110.6 | 15.97 | 40.55 | 118.24 | 216.52 | 128.22 | 28.536
3 | 2.428 | 0.0017499 | 113.37 | 16.36 | 41.58 | 125.29 | 223.88 | 128.22 | 29.66
4 | 2.428 | 0.0017499 | 116.2 | 16.78 | 42.6 | 138.87 | 231.49 | 128.22 | 31.445
5 | 2.428 | 0.0017499 | 119.1 | 17.21 | 43.68 | 138.66 | 239.38 | 128.22 | 31.865
6 | 2.428 | 0.0017499 | 122.08 | 17.62 | 44.76 | 186.71 | 247.5 | 128.22 | 37.117
7 | 2.428 | 0.0017499 | 125.13 | 18.07 | 45.89 | 242.96 | 255.91 | 128.22 | 43.205
8 | 2.428 | 0.0017499 | 128.26 | 18.52 | 47.03 | 209.37 | 264.62 | 128.22 | 40.318
9 | 2.428 | 0.0017499 | 131.47 | 19 | 48.21 | 185.94 | 273.62 | 128.22 | 38.462
10 | 2.428 | 0.0017499 | 134.75 | 19.45 | 49.41 | 189.78 | 282.93 | 128.22 | 39.339
11 | 1.6218 | 0.0016536 | 124.43 | 17.97 | 45.62 | 130.95 | 195.8 | 0 | 31.897
12 | 1.6218 | 0.0016536 | 127.55 | 18.42 | 46.77 | 149.37 | 202.45 | 0 | 34.211
13 | 1.6218 | 0.0016536 | 130.74 | 18.88 | 47.93 | 157.64 | 209.34 | 0 | 35.519
14 | 1.2071 | 0.0016041 | 126.42 | 18.26 | 46.35 | 135.05 | 161.45 | 0 | 32.608
15 | 1.2071 | 0.0016041 | 129.58 | 18.71 | 47.51 | 114.85 | 166.94 | 0 | 31.065
16 | 0.58578 | 0.00077846 | 0 | 0 | 0 | 48.85 | 81.18 | 0 | 4.885
17 | 0.58578 | 0.00077846 | 0 | 0 | 0 | 49.48 | 83.94 | 0 | 4.948
18 | 0.58578 | 0.00077846 | 0 | 0 | 0 | 49.15 | 86.79 | 0 | 4.915
19 | 0.58578 | 0.00077846 | 0 | 0 | 0 | 50.81 | 89.74 | 0 | 5.081
20 | 0.58578 | 0.00077846 | 0 | 0 | 0 | 52.34 | 92.79 | 0 | 5.234
21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
29 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NPV - TRC | 21.9656 | 0.017581 | 1152.7724 | 166.461 | 422.6956 | 1531.1259 | 2303.2161 | 948.5343 | 327.3055
NPV - SOC | 27.2847 | 0.022555 | 1450.7219 | 209.488 | 531.9433 | 1973.7549 | 2937.0716 | 1100.9852 | 416.5908

## Residential L.M. - Elec
MidAmerican Energy Company
South Dakota Energy Efficiency
Annual Program Results
Residential Load Management - Electric
Total Administrative Cost: |  | 5440.3185
Total Equipment Cost: |  | 4229.28
Total Participant Cost: |  | 7352.5
Total Incentives Paid: |  | 7352.5
Total Tax Credits: |  | 0
|  |  | Ratepayer |  | Total
Benefit/Cost Data |  | Participant | Impact | Utility | Resource | Societal
Total Benefits |  | 7408.86 | 21462.63 | 21462.63 | 21462.63 | 23608.893
Total Costs |  | 7352.5 | 95831.3745 | 95775.0145 | 25747.3275 | 29162.4743
Net Benefits |  | 56.36 | -74368.7445 | -74312.3845 | -4284.6975 | -5553.5813
B/C Ratio |  | 1.0077 | 0.22396 | 0.22409 | 0.83359 | 0.80956
Levelized Cost ($/kW) |  | 57.698 | 0.0067688 | 0.046842 | 0.0049598 | 0.42277
|  |  | Avoided | Avoided | Avoided |  |  |  |  | Assumed
| Loss Adjusted | Loss Adjusted | Generation | Transmission | Distribution | Avoided |  |  |  | Ongoing | Assumed
| Energy | Peak | Capacity | Capacity | Capacity | Energy | Bill | Non-Energy |  | Administrative | Ongoing
Year | MWh | MW | Cost | Cost | Cost | Cost | Savings | Benefits | Externalities | Costs | Incentives
1 | 0.62541 | 0.12743 | 14157.85 | 2044.64 | 5191.16 | 68.98 | 56.36 | 0 | 2146.263 | 1211.0385 | 7352.5
2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1235.2593 | 7352.5
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1259.9645 | 7352.5
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1285.1637 | 7352.5
5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1310.867 | 7352.5
6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1337.0844 | 7352.5
7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1363.826 | 7352.5
8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1391.1026 | 7352.5
9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1418.9246 | 7352.5
10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1447.3031 | 7352.5
11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1476.2492 | 7352.5
12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1505.7742 | 7352.5
13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1535.8896 | 7352.5
14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1566.6074 | 7352.5
15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1597.9396 | 7352.5
16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
29 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NPV - TRC | 0.62541 | 0.12743 | 14157.85 | 2044.64 | 5191.16 | 68.98 | 56.36 | 0 | 2146.263 | 12954.509 | 70027.687
NPV - SOC | 0.62541 | 0.12743 | 14157.85 | 2044.64 | 5191.16 | 68.98 | 56.36 | 0 | 2146.263 | 16369.6558 | 87323.4034

## Residential Recycling - Elec
MidAmerican Energy Company
South Dakota Energy Efficiency
Annual Program Results
Residential Appliance Recycling - Electric
Total Administrative Cost: |  | 1715.0201
Total Participant Cost: |  | 1421.5
Total Incentives Paid: |  | 750
Total Tax Credits: |  | 0
|  |  | Ratepayer |  | Total
Benefit/Cost Data |  | Participant | Impact | Utility | Resource | Societal
Total Benefits |  | 6560.1859 | 14357.436 | 14357.436 | 14357.436 | 16973.6202
Total Costs |  | 1421.5 | 8275.206 | 2465.0201 | 3136.5201 | 3136.5201
Net Benefits |  | 5138.6859 | 6082.2301 | 11892.4159 | 11220.9159 | 13837.1001
B/C Ratio |  | 4.615 | 1.735 | 5.8245 | 4.5775 | 5.4116
Levelized Cost ($/MWh) |  | 22.9966 | 133.874 | 39.8784 | 50.7418 | 47.3364
Discount Rate |  | 7.43% | 7.43% | 7.43% | 7.43% | 3.56%
|  |  | Avoided | Avoided | Avoided
| Loss Adjusted | Loss Adjusted | Generation | Transmission | Distribution | Avoided
| Energy | Peak | Capacity | Capacity | Capacity | Energy | Bill | Non-Energy
Year | MWh | MW | Cost | Cost | Cost | Cost | Savings | Benefits | Externalities
1 | 14.195 | 0.0016948 | 1570.68 | 226.83 | 575.91 | 686.38 | 1252.55 | 0 | 305.98
2 | 14.195 | 0.0016948 | 1609.95 | 232.51 | 590.31 | 786.71 | 1295.14 | 0 | 321.948
3 | 14.195 | 0.0016948 | 1650.2 | 238.32 | 605.07 | 824.21 | 1339.17 | 0 | 331.78
4 | 14.195 | 0.0016948 | 1691.46 | 244.28 | 620.19 | 874.51 | 1384.7 | 0 | 343.044
5 | 14.195 | 0.0016948 | 1733.74 | 250.38 | 635.7 | 922.36 | 1431.79 | 0 | 354.218
6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
29 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NPV - TRC | 61.8134 | 0.0073803 | 7164.9513 | 1034.7484 | 2627.1221 | 3530.6142 | 5810.1859 | 0 | 1435.7436
NPV - SOC | 66.2602 | 0.0079113 | 7694.2866 | 1111.1941 | 2821.2096 | 3803.8735 | 6243.4331 | 0 | 1543.0564

## Nonresidential Equipment - Elec
MidAmerican Energy Company
South Dakota Energy Efficiency
Annual Program Results
Nonresidential Equipment - Electric
Total Administrative Cost: |  | 1470.7428
Total Participant Cost: |  | 125959.091
Total Incentives Paid: |  | 15453.5
Total Tax Credits: |  | 0
|  |  | Ratepayer |  | Total
Benefit/Cost Data |  | Participant | Impact | Utility | Resource | Societal
Total Benefits |  | 1086033.0988 | 1325180.2314 | 1325180.2314 | 1325180.2314 | 1996632.5259
Total Costs |  | 125959.091 | 1087503.8417 | 16924.2428 | 127429.8338 | 127429.8338
Net Benefits |  | 960074.0078 | 237676.3897 | 1308255.9885 | 1197750.3975 | 1869202.692
B/C Ratio |  | 8.6221 | 1.2186 | 78.3007 | 10.3993 | 15.6685
Levelized Cost ($/MWh) |  | 9.8233 | 84.8125 | 1.3199 | 9.938 | 7.5138
Discount Rate |  | 7.43% | 7.43% | 7.43% | 7.43% | 3.56%
|  |  | Avoided | Avoided | Avoided
| Loss Adjusted | Loss Adjusted | Generation | Transmission | Distribution | Avoided
| Energy | Peak | Capacity | Capacity | Capacity | Energy | Bill | Non-Energy
Year | MWh | MW | Cost | Cost | Cost | Cost | Savings | Benefits | Externalities
1 | 1180.068 | 0.15301 | 21617.81 | 3122 | 7926.45 | 53555.63 | 76550.67 | 0 | 8622.189
2 | 1180.068 | 0.15301 | 22158.24 | 3200.05 | 8124.62 | 55909.87 | 79153.4 | 0 | 8939.278
3 | 1180.068 | 0.15301 | 22712.22 | 3280.04 | 8327.73 | 60115.33 | 81844.62 | 0 | 9443.532
4 | 1180.068 | 0.15301 | 23280.01 | 3362.04 | 8535.93 | 67889.94 | 84627.33 | 0 | 10306.792
5 | 1180.068 | 0.15301 | 23862.02 | 3446.09 | 8749.32 | 65980.03 | 87504.66 | 0 | 10203.746
6 | 1180.068 | 0.15301 | 24458.57 | 3532.25 | 8968.06 | 91074.09 | 90479.8 | 0 | 12803.297
7 | 1180.068 | 0.15301 | 25070.03 | 3620.55 | 9192.26 | 104644.33 | 93556.13 | 0 | 14252.717
8 | 1180.068 | 0.15301 | 25696.78 | 3711.06 | 9422.07 | 96982.31 | 96737.04 | 0 | 13581.222
9 | 1180.068 | 0.15301 | 26339.19 | 3803.85 | 9657.61 | 88623.66 | 100026.09 | 0 | 12842.431
10 | 1180.068 | 0.15301 | 26997.69 | 3898.94 | 9899.06 | 90523.04 | 103426.98 | 0 | 13131.873
11 | 1180.068 | 0.15301 | 27672.63 | 3996.41 | 10146.52 | 91350.93 | 106943.5 | 0 | 13316.649
12 | 1180.068 | 0.15301 | 28364.43 | 4096.33 | 10400.19 | 99083.75 | 110579.58 | 0 | 14194.47
13 | 1180.068 | 0.15301 | 29073.54 | 4198.73 | 10660.19 | 105406.58 | 114339.28 | 0 | 14933.904
14 | 1168.1247 | 0.15122 | 29525.97 | 4264.08 | 10826.08 | 111070.38 | 117035.57 | 0 | 15568.651
15 | 1168.1247 | 0.15122 | 30264.13 | 4370.68 | 11096.74 | 100650.58 | 121014.79 | 0 | 14638.213
16 | 1071.3349 | 0.13583 | 23607.37 | 3409.32 | 8655.95 | 95006.78 | 114228 | 0 | 13067.942
17 | 1071.3349 | 0.13583 | 24197.56 | 3494.55 | 8872.35 | 93984.9 | 118111.75 | 0 | 13054.936
18 | 1071.3349 | 0.13583 | 24802.5 | 3581.92 | 9094.16 | 99482.7 | 122127.55 | 0 | 13696.128
19 | 1071.3349 | 0.13583 | 25422.56 | 3671.47 | 9321.52 | 101497.62 | 126279.89 | 0 | 13991.317
20 | 1071.3349 | 0.13583 | 26058.12 | 3763.25 | 9554.55 | 99792.05 | 130573.4 | 0 | 13916.797
21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
29 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NPV - TRC | 12822.4496 | 1.6579 | 274772.9161 | 39682.0577 | 100749.1044 | 909976.1532 | 1070579.5988 | 0 | 132518.0231
NPV - SOC | 16959.5254 | 2.1902 | 370116.6893 | 53451.3805 | 135708.1479 | 1255844.2604 | 1471328.3617 | 0 | 181512.0478

## Nonresidential Audit - Elec
MidAmerican Energy Company
South Dakota Energy Efficiency
Annual Program Results
Nonresidential Audit - Electric
Total Administrative Cost: |  | 325.2433
Total Participant Cost: |  | 1369.15
Total Incentives Paid: |  | 1216.99
Total Tax Credits: |  | 0
|  |  | Ratepayer |  | Total
Benefit/Cost Data |  | Participant | Impact | Utility | Resource | Societal
Total Benefits |  | 3123.7491 | 2218.0129 | 2218.0129 | 3196.36 | 3064.4387
Total Costs |  | 1369.15 | 2470.6453 | 1542.2333 | 1694.3933 | 1694.3933
Net Benefits |  | 1754.5991 | -252.6325 | 675.7795 | 1501.9666 | 1370.0454
B/C Ratio |  | 2.2815 | 0.89775 | 1.4382 | 1.8864 | 1.8086
Levelized Cost ($/MWh) |  | 122.7681 | 221.5363 | 138.288 | 151.9318 | 126.1865
Discount Rate |  | 7.43% | 7.43% | 7.43% | 7.43% | 3.56%
|  |  | Avoided | Avoided | Avoided
| Loss Adjusted | Loss Adjusted | Generation | Transmission | Distribution | Avoided
| Energy | Peak | Capacity | Capacity | Capacity | Energy | Bill | Non-Energy
Year | MWh | MW | Cost | Cost | Cost | Cost | Savings | Benefits | Externalities
1 | 1.3358 | 0.0002004 | 85.26 | 12.32 | 31.26 | 63.6 | 92.8 | 132.25 | 19.244
2 | 1.3358 | 0.0002004 | 87.4 | 12.62 | 32.04 | 69.96 | 95.95 | 132.25 | 20.202
3 | 1.3358 | 0.0002004 | 89.58 | 12.94 | 32.85 | 74.28 | 99.22 | 132.25 | 20.965
4 | 1.3358 | 0.0002004 | 91.83 | 13.26 | 33.67 | 80.77 | 102.59 | 132.25 | 21.953
5 | 1.3358 | 0.0002004 | 94.12 | 13.6 | 34.5 | 82.69 | 106.08 | 132.25 | 22.491
6 | 1.3358 | 0.0002004 | 96.47 | 13.92 | 35.37 | 108.73 | 109.68 | 132.25 | 25.449
7 | 1.3358 | 0.0002004 | 98.88 | 14.28 | 36.25 | 156.23 | 113.41 | 132.25 | 30.564
8 | 1.3358 | 0.0002004 | 101.35 | 14.64 | 37.16 | 129.98 | 117.27 | 132.25 | 28.313
9 | 1.3358 | 0.0002004 | 103.89 | 15 | 38.09 | 108.42 | 121.25 | 132.25 | 26.54
10 | 1.3358 | 0.0002004 | 106.49 | 15.38 | 39.04 | 109.76 | 125.38 | 132.25 | 27.067
11 | 0.63744 | 9.5633e-05 | 97.29 | 14.05 | 35.67 | 59.39 | 66.66 | 0 | 20.64
12 | 0.63744 | 9.5633e-05 | 99.72 | 14.4 | 36.57 | 69.39 | 68.93 | 0 | 22.008
13 | 0.63744 | 9.5633e-05 | 102.21 | 14.76 | 37.48 | 78.03 | 71.28 | 0 | 23.248
14 | 0.5256 | 7.8854e-05 | 102.2 | 14.76 | 37.47 | 78.28 | 62.54 | 0 | 23.271
15 | 0.5256 | 7.8854e-05 | 104.75 | 15.13 | 38.41 | 58.23 | 64.67 | 0 | 21.652
16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
29 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NPV - TRC | 11.1523 | 0.0016731 | 911.2448 | 131.6035 | 334.0998 | 841.0648 | 928.412 | 978.3471 | 221.8013
NPV - SOC | 13.4277 | 0.0020145 | 1147.1 | 165.6645 | 420.5763 | 1052.5127 | 1141.613 | 1135.5896 | 278.5853

## Nonresidential Custom - Elec
MidAmerican Energy Company
South Dakota Energy Efficiency
Annual Program Results
Nonresidential Custom - Electric
Total Administrative Cost: |  | 11160.0625
Total Participant Cost: |  | 0
Total Incentives Paid: |  | 0
Total Tax Credits: |  | 0
|  |  | Ratepayer |  | Total
Benefit/Cost Data |  | Participant | Impact | Utility | Resource | Societal
Total Benefits |  | 0 | 0 | 0 | 0 | 0
Total Costs |  | 0 | 11160.0625 | 11160.0625 | 11160.0625 | 11160.0625
Net Benefits |  | 0 | -11160.0625 | -11160.0625 | -11160.0625 | -11160.0625
B/C Ratio |  | 0 | 0 | 0 | 0 | 0
Levelized Cost ($/MWh) |  | 0 | 0 | 0 | 0 | 0
Discount Rate |  | 7.43% | 7.43% | 7.43% | 7.43% | 3.56%
|  |  | Avoided | Avoided | Avoided
| Loss Adjusted | Loss Adjusted | Generation | Transmission | Distribution | Avoided
| Energy | Peak | Capacity | Capacity | Capacity | Energy | Bill | Non-Energy
Year | MWh | MW | Cost | Cost | Cost | Cost | Savings | Benefits | Externalities
1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
29 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NPV - TRC | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NPV - SOC | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Residential Equipment - Gas
MidAmerican Energy Company
South Dakota Energy Efficiency
Annual Program Results
Residential Equipment - Gas
Total Administrative Cost: |  | 19937.9091
Total Participant Cost: |  | 2559891.404
Total Incentives Paid: |  | 590204.98
Total Tax Credits: |  | 0
|  |  | Ratepayer |  | Total
Benefit/Cost Data |  | Participant | Impact | Utility | Resource | Societal
Total Benefits |  | 3796103.1785 | 2978065.9775 | 2978065.9775 | 3159445.3539 | 4347383.8477
Total Costs |  | 2559891.404 | 3634661.7112 | 610142.8891 | 2579829.3131 | 2579829.3131
Net Benefits |  | 1236211.7745 | -656595.7337 | 2367923.0884 | 579616.0407 | 1767554.5346
B/C Ratio |  | 1.4829 | 0.81935 | 4.8809 | 1.2247 | 1.6851
Levelized Cost ($/MMBtu) |  | 8.0517 | 11.4322 | 1.9191 | 8.1144 | 6.1448
Discount Rate |  | 7.43% | 7.43% | 7.43% | 7.43% | 3.56%
|  |  | Avoided | Avoided | Avoided
|  |  | Production | Transmission | Distribution | Avoided
| Energy | Peak | Capacity | Capacity | Capacity | Energy | Bill | Non-Energy
Year | MMBtu | MMBtu | Cost | Cost | Cost | Cost | Savings | Benefits | Externalities
1 | 29365.9765 | 381.8449 | 39678.28 | 0 | 0 | 181858.9 | 208533.57 | 19043.78 | 16615.2885
2 | 29365.9765 | 381.8449 | 39678.28 | 0 | 0 | 189674.44 | 218888.89 | 19043.78 | 17201.454
3 | 29365.9765 | 381.8449 | 39678.28 | 0 | 0 | 195627 | 232141.85 | 19043.78 | 17647.896
4 | 29365.9765 | 381.8449 | 39678.28 | 0 | 0 | 202582.54 | 243262.68 | 19043.78 | 18169.5615
5 | 29365.9765 | 381.8449 | 39678.28 | 0 | 0 | 214145.81 | 252459.8 | 19043.78 | 19036.8067
6 | 29365.9765 | 381.8449 | 39678.28 | 0 | 0 | 230203.69 | 259825.03 | 19043.78 | 20241.1477
7 | 29365.9765 | 381.8449 | 39678.28 | 0 | 0 | 236142.81 | 268225.03 | 19043.78 | 20686.5817
8 | 29365.9765 | 381.8449 | 39678.28 | 0 | 0 | 241459.01 | 281265.25 | 19043.78 | 21085.2968
9 | 29365.9765 | 381.8449 | 39678.28 | 0 | 0 | 246897.3 | 298833.32 | 19043.78 | 21493.1685
10 | 29365.9765 | 381.8449 | 39678.28 | 0 | 0 | 252449.28 | 306316.61 | 19043.78 | 21909.567
11 | 29365.9765 | 381.8449 | 39678.28 | 0 | 0 | 258133.5 | 313211.72 | 19043.78 | 22335.8835
12 | 29365.9765 | 381.8449 | 39678.28 | 0 | 0 | 263929.92 | 320264.45 | 19043.78 | 22770.615
13 | 29365.9765 | 381.8449 | 39678.28 | 0 | 0 | 269868.32 | 327467.19 | 19043.78 | 23215.995
14 | 29365.9765 | 381.8449 | 39678.28 | 0 | 0 | 275949.43 | 334839.31 | 19043.78 | 23672.0782
15 | 29365.9765 | 381.8449 | 39678.28 | 0 | 0 | 282150.95 | 342361.62 | 19043.78 | 24137.1922
16 | 25731.0143 | 334.5796 | 34766.85 | 0 | 0 | 252794.12 | 306733.22 | 0 | 21567.0727
17 | 25731.0143 | 334.5796 | 34766.85 | 0 | 0 | 258489.87 | 313642.67 | 0 | 21994.254
18 | 25731.0143 | 334.5796 | 34766.85 | 0 | 0 | 264299.23 | 320693.19 | 0 | 22429.956
19 | 25731.0143 | 334.5796 | 34766.85 | 0 | 0 | 270244.33 | 327914.42 | 0 | 22875.8385
20 | 25731.0143 | 334.5796 | 34766.85 | 0 | 0 | 276325.13 | 335300.37 | 0 | 23331.8985
21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
29 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NPV - TRC | 317931.6739 | 4134.0564 | 429578.1602 | 0 | 0 | 2548487.8173 | 3024518.8221 | 181379.3764 | 223354.9483
NPV - SOC | 419841.934 | 5459.1926 | 567275.7429 | 0 | 0 | 3476802.255 | 4141181.3815 | 226177.1756 | 303305.8498

## Residential Audit - Gas
MidAmerican Energy Company
South Dakota Energy Efficiency
Annual Program Results
Residential Audit - Gas
Total Administrative Cost: |  | 36348.6228
Total Participant Cost: |  | 215807.2225
Total Incentives Paid: |  | 155614.46
Total Tax Credits: |  | 0
|  |  | Ratepayer |  | Total
Benefit/Cost Data |  | Participant | Impact | Utility | Resource | Societal
Total Benefits |  | 458968.725 | 189261.7698 | 189261.7698 | 298963.6574 | 272433.9761
Total Costs |  | 215807.2225 | 385615.4601 | 191963.0828 | 252155.8453 | 252155.8453
Net Benefits |  | 243161.5025 | -196353.6904 | -2701.3131 | 46807.8121 | 20278.1308
B/C Ratio |  | 2.1268 | 0.4908 | 0.98593 | 1.1856 | 1.0804
Levelized Cost ($/MMBtu) |  | 10.47 | 18.7084 | 9.3132 | 12.2335 | 9.3958
Discount Rate |  | 7.43% | 7.43% | 7.43% | 7.43% | 3.56%
|  |  | Avoided | Avoided | Avoided
|  |  | Production | Transmission | Distribution | Avoided
| Energy | Peak | Capacity | Capacity | Capacity | Energy | Bill | Non-Energy
Year | MMBtu | MMBtu | Cost | Cost | Cost | Cost | Savings | Benefits | Externalities
1 | 1988.3225 | 23.3987 | 2431.39 | 0 | 0 | 12261.92 | 14074.68 | 13068.89 | 1101.9982
2 | 1988.3225 | 23.3987 | 2431.39 | 0 | 0 | 12796.33 | 14773.17 | 13068.89 | 1142.079
3 | 1988.3225 | 23.3987 | 2431.39 | 0 | 0 | 13222.8 | 15675.59 | 13068.89 | 1174.0642
4 | 1988.3225 | 23.3987 | 2431.39 | 0 | 0 | 13711.43 | 16419.48 | 13068.89 | 1210.7115
5 | 1988.3225 | 23.3987 | 2431.39 | 0 | 0 | 14491.23 | 17047.43 | 13068.89 | 1269.1965
6 | 1988.3225 | 23.3987 | 2431.39 | 0 | 0 | 15590.9 | 17569.53 | 13068.89 | 1351.6717
7 | 1988.3225 | 23.3987 | 2431.39 | 0 | 0 | 15986.96 | 18155.98 | 13068.89 | 1381.3762
8 | 1988.3225 | 23.3987 | 2431.39 | 0 | 0 | 16346.84 | 19035.77 | 13068.89 | 1408.3673
9 | 1988.3225 | 23.3987 | 2431.39 | 0 | 0 | 16714.97 | 20237.71 | 13068.89 | 1435.977
10 | 1988.3225 | 23.3987 | 2431.39 | 0 | 0 | 17090.87 | 20738.33 | 13068.89 | 1464.1695
11 | 1845.0805 | 23.0173 | 2391.76 | 0 | 0 | 16217.82 | 19678.49 | 4349.68 | 1395.7185
12 | 1845.0805 | 23.0173 | 2391.76 | 0 | 0 | 16582.03 | 20121.6 | 4349.68 | 1423.0342
13 | 1845.0805 | 23.0173 | 2391.76 | 0 | 0 | 16955.12 | 20574.12 | 4349.68 | 1451.016
14 | 1750.8565 | 22.7663 | 2365.69 | 0 | 0 | 16452.64 | 19963.76 | 4349.68 | 1411.3747
15 | 1750.8565 | 22.7663 | 2365.69 | 0 | 0 | 16822.38 | 20412.26 | 4349.68 | 1439.1052
16 | 1379.8701 | 17.9424 | 1864.43 | 0 | 0 | 13556.52 | 16449.1 | 2538.02 | 1156.5712
17 | 1379.8701 | 17.9424 | 1864.43 | 0 | 0 | 13861.96 | 16819.63 | 2538.02 | 1179.4792
18 | 1379.8701 | 17.9424 | 1864.43 | 0 | 0 | 14173.5 | 17197.72 | 2538.02 | 1202.8447
19 | 1379.8701 | 17.9424 | 1864.43 | 0 | 0 | 14492.32 | 17584.97 | 2538.02 | 1226.7562
20 | 1379.8701 | 17.9424 | 1864.43 | 0 | 0 | 14818.42 | 17981.07 | 2538.02 | 1251.2137
21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
29 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NPV - TRC | 20611.8688 | 248.5204 | 25824.1004 | 0 | 0 | 163437.6694 | 193652.3773 | 109701.8877 | 14194.6327
NPV - SOC | 26837.2132 | 325.8898 | 33863.6848 | 0 | 0 | 219563.2697 | 261081.7175 | 133539.1862 | 19007.0216

## Nonresidential Equipment - Gas
MidAmerican Energy Company
South Dakota Energy Efficiency
Annual Program Results
Nonresidential Equipment - Gas
Total Administrative Cost: |  | 3087.0767
Total Participant Cost: |  | 350509.9667
Total Incentives Paid: |  | 81617.5
Total Tax Credits: |  | 0
|  |  | Ratepayer |  | Total
Benefit/Cost Data |  | Participant | Impact | Utility | Resource | Societal
Total Benefits |  | 797903.8217 | 679148.1636 | 679148.1636 | 737511.3952 | 985367.8573
Total Costs |  | 350509.9667 | 742627.6668 | 84704.5767 | 353597.0434 | 353597.0434
Net Benefits |  | 447393.855 | -63479.5032 | 594443.5869 | 383914.3518 | 631770.8139
B/C Ratio |  | 2.2764 | 0.91452 | 8.0178 | 2.0857 | 2.7867
Levelized Cost ($/MMBtu) |  | 4.8423 | 10.2595 | 1.1702 | 4.885 | 3.7189
Discount Rate |  | 7.43% | 7.43% | 7.43% | 7.43% | 3.56%
|  |  | Avoided | Avoided | Avoided
|  |  | Production | Transmission | Distribution | Avoided
| Energy | Peak | Capacity | Capacity | Capacity | Energy | Bill | Non-Energy
Year | MMBtu | MMBtu | Cost | Cost | Cost | Cost | Savings | Benefits | Externalities
1 | 6772.7283 | 92.2681 | 9454.38 | 0 | 0 | 41936.2 | 45865.66 | 6127.8 | 3854.2935
2 | 6772.7283 | 92.2681 | 9454.38 | 0 | 0 | 43743.89 | 48203.53 | 6127.8 | 3989.8702
3 | 6772.7283 | 92.2681 | 9454.38 | 0 | 0 | 45120.03 | 51202.53 | 6127.8 | 4093.0807
4 | 6772.7283 | 92.2681 | 9454.38 | 0 | 0 | 46720.74 | 53722.03 | 6127.8 | 4213.134
5 | 6772.7283 | 92.2681 | 9454.38 | 0 | 0 | 49383.43 | 55794.89 | 6127.8 | 4412.8357
6 | 6772.7283 | 92.2681 | 9454.38 | 0 | 0 | 53084.94 | 57442.18 | 6127.8 | 4690.449
7 | 6772.7283 | 92.2681 | 9454.38 | 0 | 0 | 54461.05 | 59320.14 | 6127.8 | 4793.6573
8 | 6772.7283 | 92.2681 | 9454.38 | 0 | 0 | 55687.13 | 62266.31 | 6127.8 | 4885.6132
9 | 6772.7283 | 92.2681 | 9454.38 | 0 | 0 | 56941.32 | 66257.7 | 6127.8 | 4979.6775
10 | 6772.7283 | 92.2681 | 9454.38 | 0 | 0 | 58221.8 | 67930.19 | 6127.8 | 5075.7135
11 | 6772.7283 | 92.2681 | 9454.38 | 0 | 0 | 59532.72 | 69459.32 | 6127.8 | 5174.0325
12 | 6772.7283 | 92.2681 | 9454.38 | 0 | 0 | 60869.52 | 71023.39 | 6127.8 | 5274.2925
13 | 6772.7283 | 92.2681 | 9454.38 | 0 | 0 | 62239.06 | 72620.71 | 6127.8 | 5377.008
14 | 6772.7283 | 92.2681 | 9454.38 | 0 | 0 | 63641.55 | 74255.61 | 6127.8 | 5482.1948
15 | 6772.7283 | 92.2681 | 9454.38 | 0 | 0 | 65071.79 | 75923.67 | 6127.8 | 5589.4627
16 | 5301.3687 | 72.498 | 7400.44 | 0 | 0 | 52082.31 | 60766.59 | 0 | 4461.2063
17 | 5301.3687 | 72.498 | 7400.44 | 0 | 0 | 53255.75 | 62135.48 | 0 | 4549.2142
18 | 5301.3687 | 72.498 | 7400.44 | 0 | 0 | 54452.63 | 63532.2 | 0 | 4638.9802
19 | 5301.3687 | 72.498 | 7400.44 | 0 | 0 | 55677.5 | 64962.85 | 0 | 4730.8455
20 | 5301.3687 | 72.498 | 7400.44 | 0 | 0 | 56930.28 | 66426.11 | 0 | 4824.804
21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
29 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NPV - TRC | 72384.3907 | 986.5355 | 101044.8854 | 0 | 0 | 578103.2782 | 657923.0901 | 58363.2316 | 50936.1123
NPV - SOC | 95080.4477 | 1296.0854 | 132727.4151 | 0 | 0 | 783893.8475 | 895724.9989 | 72778.0145 | 68746.5947

## Nonresidential Audit - Gas
MidAmerican Energy Company
South Dakota Energy Efficiency
Annual Program Results
Nonresidential Audit - Gas
Total Administrative Cost: |  | 3239.238
Total Participant Cost: |  | 8414.7
Total Incentives Paid: |  | 8414.7
Total Tax Credits: |  | 0
|  |  | Ratepayer |  | Total
Benefit/Cost Data |  | Participant | Impact | Utility | Resource | Societal
Total Benefits |  | 85341.0836 | 33197.7278 | 33197.7278 | 74664.2578 | 41975.1331
Total Costs |  | 8414.7 | 47113.7916 | 11653.938 | 11653.938 | 11653.938
Net Benefits |  | 76926.3836 | -13916.0638 | 21543.7898 | 63010.3198 | 30321.1951
B/C Ratio |  | 10.1419 | 0.70463 | 2.8486 | 6.4068 | 3.6018
Levelized Cost ($/MMBtu) |  | 1.9122 | 10.7062 | 2.6483 | 2.6483 | 2.2796
Discount Rate |  | 7.43% | 7.43% | 7.43% | 7.43% | 3.56%
|  |  | Avoided | Avoided | Avoided
|  |  | Production | Transmission | Distribution | Avoided
| Energy | Peak | Capacity | Capacity | Capacity | Energy | Bill | Non-Energy
Year | MMBtu | MMBtu | Cost | Cost | Cost | Cost | Savings | Benefits | Externalities
1 | 593.124 | 1.8114 | 188.23 | 0 | 0 | 3544.66 | 3905.47 | 5605.32 | 279.9667
2 | 593.124 | 1.8114 | 188.23 | 0 | 0 | 3715.69 | 4103.57 | 5605.32 | 292.794
3 | 593.124 | 1.8114 | 188.23 | 0 | 0 | 3894.36 | 4379.6 | 5605.32 | 306.1943
4 | 593.124 | 1.8114 | 188.23 | 0 | 0 | 4079.02 | 4576.81 | 5605.32 | 320.0437
5 | 593.124 | 1.8114 | 188.23 | 0 | 0 | 4304.72 | 4771.06 | 5605.32 | 336.9712
6 | 593.124 | 1.8114 | 188.23 | 0 | 0 | 4660.23 | 4973.48 | 5605.32 | 363.6345
7 | 593.124 | 1.8114 | 188.23 | 0 | 0 | 4764.85 | 5182.41 | 5605.32 | 371.481
8 | 593.124 | 1.8114 | 188.23 | 0 | 0 | 4872.03 | 5432.94 | 5605.32 | 379.5195
9 | 593.124 | 1.8114 | 188.23 | 0 | 0 | 4981.66 | 5813.83 | 5605.32 | 387.7417
10 | 593.124 | 1.8114 | 188.23 | 0 | 0 | 5093.72 | 5944.42 | 5605.32 | 396.1462
11 | 9.408 | 0.028732 | 2.99 | 0 | 0 | 82.61 | 96.41 | 0 | 6.42
12 | 9.408 | 0.028732 | 2.99 | 0 | 0 | 84.47 | 98.58 | 0 | 6.5595
13 | 9.408 | 0.028732 | 2.99 | 0 | 0 | 86.37 | 100.8 | 0 | 6.702
14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
29 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NPV - TRC | 4400.6114 | 13.4394 | 1396.5555 | 0 | 0 | 31801.1723 | 35459.8535 | 41466.53 | 2489.8296
NPV - SOC | 5112.188 | 15.6125 | 1622.3798 | 0 | 0 | 37424.2557 | 41785.0729 | 48131.1378 | 2928.4977

## Nonresidential Custom - Gas
MidAmerican Energy Company
South Dakota Energy Efficiency
Annual Program Results
Nonresidential Custom - Gas
Total Administrative Cost: |  | 371.1633
Total Participant Cost: |  | 144035
Total Incentives Paid: |  | 20337
Total Tax Credits: |  | 0
|  |  | Ratepayer |  | Total
Benefit/Cost Data |  | Participant | Impact | Utility | Resource | Societal
Total Benefits |  | 118378.757 | 120175.0511 | 120175.0511 | 120175.0511 | 175919.8633
Total Costs |  | 144035 | 118749.9203 | 20708.1633 | 144406.1633 | 144406.1633
Net Benefits |  | -25656.243 | 1425.1308 | 99466.8878 | -24231.1122 | 31513.6999
B/C Ratio |  | 0.82187 | 1.012 | 5.8033 | 0.8322 | 1.2182
Levelized Cost ($/MMBtu) |  | 13.5071 | 11.1359 | 1.9419 | 13.5419 | 10.1855
Discount Rate |  | 7.43% | 7.43% | 7.43% | 7.43% | 3.56%
|  |  | Avoided | Avoided | Avoided
|  |  | Production | Transmission | Distribution | Avoided
| Energy | Peak | Capacity | Capacity | Capacity | Energy | Bill | Non-Energy
Year | MMBtu | MMBtu | Cost | Cost | Cost | Cost | Savings | Benefits | Externalities
1 | 968.5 | 5.75 | 3097.71 | 0 | 0 | 6033.68 | 6589.6 | 0 | 684.8542
2 | 968.5 | 5.75 | 3097.71 | 0 | 0 | 6299.21 | 6925.73 | 0 | 704.769
3 | 968.5 | 5.75 | 3097.71 | 0 | 0 | 6486.96 | 7334.83 | 0 | 718.8502
4 | 968.5 | 5.75 | 3097.71 | 0 | 0 | 6698.09 | 7719.05 | 0 | 734.685
5 | 968.5 | 5.75 | 3097.71 | 0 | 0 | 7072.64 | 8022.5 | 0 | 762.7763
6 | 968.5 | 5.75 | 3097.71 | 0 | 0 | 7587.78 | 8249.03 | 0 | 801.4117
7 | 968.5 | 5.75 | 3097.71 | 0 | 0 | 7798.05 | 8499.81 | 0 | 817.182
8 | 968.5 | 5.75 | 3097.71 | 0 | 0 | 7973.68 | 8914.89 | 0 | 830.3542
9 | 968.5 | 5.75 | 3097.71 | 0 | 0 | 8153.29 | 9471.49 | 0 | 843.825
10 | 968.5 | 5.75 | 3097.71 | 0 | 0 | 8336.66 | 9724.14 | 0 | 857.5777
11 | 968.5 | 5.75 | 3097.71 | 0 | 0 | 8524.35 | 9943.1 | 0 | 871.6545
12 | 968.5 | 5.75 | 3097.71 | 0 | 0 | 8715.65 | 10167.02 | 0 | 886.002
13 | 968.5 | 5.75 | 3097.71 | 0 | 0 | 8911.75 | 10395.71 | 0 | 900.7095
14 | 968.5 | 5.75 | 3097.71 | 0 | 0 | 9112.64 | 10629.73 | 0 | 915.7762
15 | 968.5 | 5.75 | 3097.71 | 0 | 0 | 9317.42 | 10868.39 | 0 | 931.1348
16 | 968.5 | 5.75 | 3097.71 | 0 | 0 | 9527.36 | 11112.93 | 0 | 946.8802
17 | 968.5 | 5.75 | 3097.71 | 0 | 0 | 9741.97 | 11363.34 | 0 | 962.976
18 | 968.5 | 5.75 | 3097.71 | 0 | 0 | 9960.79 | 11618.77 | 0 | 979.3875
19 | 968.5 | 5.75 | 3097.71 | 0 | 0 | 10184.92 | 11880.49 | 0 | 996.1973
20 | 968.5 | 5.75 | 3097.71 | 0 | 0 | 10414.06 | 12148.04 | 0 | 1013.3827
21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
29 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NPV - TRC | 10663.6593 | 63.3103 | 34107.3043 | 0 | 0 | 86067.7469 | 98041.757 | 0 | 9013.1288
NPV - SOC | 14177.6561 | 84.173 | 45346.6877 | 0 | 0 | 118299.6967 | 135317.2777 | 0 | 12273.4788